## RECEIVER IP INFO
This need to be filled up if using own network
RECEIVER IP ADDRESS:-
SUBNET MASK:
GATEWAY IP ADDRESS:

## NAMING-RANGE
Sensor No. | Fridge/Freezer/Device Name | LIMIT RANGE (Celcius) | Humidty (%)
S1
s2
S3
S4
S5
S6
S7
S8
S9
S10
S11
S12
S13
S14
S15
S16
| **Maximum 18 characters including space |  | only fill up if you will use humidity sensor
NOTE
e.g | FRIDGE A | 2 to 8 | 10 to 70

## ALERT INFO
| Name | PHONE NO. | EMAIL ADDRESS
ALERT 1
ALERT 2
ALERT 3

## FLOOR PLAN
*do not fill up if our representative has already done a site survey for you.
1 | Location of Monitoring Points:
| Same Floor | ü
Multi Floor
Multi Floor Multi Block
Others
2 | Ceiling type:
False ceiling
| Cornice ceiling | ü
Cement ceiling
Mix
3 | Is drilling the wall allowed on site for mounting System? |  | Yes/No
4 | Which Telco Signal which has 4 bar signal on site? |  | (Celcom/Digi/Maxis)
| <SITE NAME> |  |  |  |  | Important Info to show in Floor Plan
[5 empty] | 1 | Location of LAN Port
[5 empty] | 2 | Location of Plug Point
[5 empty] | 3 | Location of TELCO signal test done
[5 empty] | 5 | Photo of the Fridge/Freezer/Cold Room must be included and pointed to the location in floor plan.
[5 empty] | 6 | Fridge/Freezer/Cold Room must be labelled in floor plan.
[5 empty] | 7 | Rooms must be labelled
[5 empty] | 9 | Dimensions of the room, and corridors if relevant, must be stated
Pharmacy Counter
Area
|  |  |  | Corridor |  |  | ROOM 3
ROOM 2
20 m
ROOM 1
Corridor
Plug
Fridge 2-8C
Cold Room
2-8C
Cold Room
2-8C
Fridge 2-8C
Fridge 2-8C
Fridge 2-8C
Freezer -80C
Plug
Plug
Plug
Lan
Siren
10 m